## Slide 3
Calculation of the required stiffness:
Calculation of the required length of the spring steel arms:
E for 1095 spring steel = 207 Gpa

## Slide 8
L_s + p =
Pmin <P < pmax
-pmax<-P < -pmin
L

## Slide 9
Input force profile loaded from the
ATI force sensor readings of the force
sensor calibration in TRO paper
The calibration matrix calculated in the
TRO paper when the sensor is mounted on a steel shaft

## Slide 12
Total Parameters: 41
6x6 parameters in matrix
length of the shaft
Lumped shaft parameter:
Location of the cross-section:
Encoder offset for instrument insertion:
Cost function:
The optimization problem is not convex because there is a calibration matrix A for any arbitrarily selected
So we arbitrarily select and we end up with 40 parameters
Implement coordinate optimization and projected gradient method with the constraints below:
Select:
Fix and to an initial value, solve for , , and .
Then fix and solve for and
Iterate between 1 and 2

## Slide 16
Assuming
Assuming and = 0
We do not need to identify:
We only need to identify two functions, and
Fontanelli et al. 2017
For the case of the instrument used in the experiments, the dynamic effects (gravity and inertial forces) are small compared to the range of the measured forces (about 1% of the maximum force) and could be neglected. Of course, when instruments with higher weight and inertia are used, the dynamic effects should be compensated.
Schwalb et al. 2017
During MIS, inertia is low and is assumed to be negligible, and is further validated in the experimental results section.

## Slide 21
Adjustment Gear
Bicell Board
Bicell Photodiode
Onboard ADC
Interconnect Flex
Infrared LED

## Slide 23
Model-based Calibration

## Slide 26
Neural Network Calibration

## Slide 27
Elapsed time is 0.001796 seconds.
45 minutes training

## Slide 29
Elapsed time is 0.001754 seconds.
45 minutes training